## TOP-MOR
SEDIMENTATION BASINS/CLARIFIERS | [7 empty] | TEXAS OPTIMIZATION PROGRAM | [6 empty] | Blank Form? | Yes
Basin # | No.of Readings | # Above 2.0 NTU | % Above 2.0 NTU | # Above 5.0 NTU | MaximumNTU | Minimum NTU |  | Monthly Optimization Report
[16 empty] | Total | #>2.0 | #>5.0 | Max | Min
1 | [14 empty] | Basin 1 errors
2 | [7 empty] | Month/Year: | [6 empty] | Basin 2 errors
3 | [14 empty] | Basin 3 errors
4 | [7 empty] | PWS ID No.: |  |  |  | Plant ID No.: |  |  | Basin 4 errors
5 | [14 empty] | Basin 5 errors
6 | [7 empty] | PWS Name: | [6 empty] | Basin 6 errors
7 | [14 empty] | Basin 7 errors
8 | [7 empty] | Plant Name: | [6 empty] | Basin 8 errors
Summary | [14 empty] | Total Errors
FILTERS
TURBIDITY DATA SUMMARY | [9 empty] | POST-BACKWASH PROFILE
Filter # | Number of Readings | Number Above 0.10 NTU | Number Above 0.1 NTU | Percent Above 0.1 NTU | Number Above 0.3 NTU | Percent Above 0.3 NTU | Number Above 0.5 NTU | Maximum NTU | Minimum NTU | Date | Maximum Spike after Backwash | 15 Minute Post Backwash | 30 Minute Post Backwash | Maximum NTU During Filter Run
[16 empty] | Total | #>0.10 | #>0.1 | #>0.3 | #>0.5 | Max | Min | Date | Spike | 15-min | 30-min | Max
1 | [14 empty] | Filter 1 errors
2 | [14 empty] | Filter 2 errors
3 | [14 empty] | Filter 3 errors
4 | [14 empty] | Filter 4 errors
5 | [14 empty] | Filter 5 errors
6 | [14 empty] | Filter 6 errors
7 | [14 empty] | Filter 7 errors
8 | [14 empty] | Filter 8 errors
9 | [14 empty] | Filter 9 errors
10 | [14 empty] | Filter 10 errors
11 | [14 empty] | Filter 11 errors
12 | [14 empty] | Filter 12 errors
13 | [14 empty] | Filter 13 errors
14 | [14 empty] | Filter 14 errors
15 | [14 empty] | Filter 15 errors
16 | [14 empty] | Filter 16 errors
17 | [14 empty] | Filter 17 errors
18 | [14 empty] | Filter 18 errors
19 | [14 empty] | Filter 19 errors
20 | [14 empty] | Filter 20 errors
Summary | [14 empty] | Total Errors
TCEQ-10493 (Rev. 06-01-13) | [13 empty] | TOPMOR | v9 | 2019-03-25
This spreadsheet contains a number of comment boxes, data validation features, and tools to help you detect data entry problems.
To veiw the comment boxes, put the cursor on a cell that has one of the little red triangles in the upper right-hand corner and the comment box will appear.
This portion of the spreadsheet is provided to help you detect data entry errors. Please review it to make sure that all the boxes say "ok" before you print and submit the form. It will not print.
Note on B3: Enter the total number of readings collected on each clarifier that was used during the month. If the clarifier does not exist or if it exists but was off-line for the entire month, enter "NA".
Note on C3: Enter the number of readings that were above 2.05 NTU.
Note on E3: Enter the number of readings that were above 5.05 NTU.
Note on F3: Enter the hghest turbidity reading that was recorded during the month.
Note on G3: Enter the lowest turbidity reading that was recorded during the month.
Note on S4: Missing = missing data Error = # above 2.0 > Total #
Note on T4: Missing = missing data Error = # above 5.0 > # above 2.0
Note on U4: Missing = missing data Error = Max is > 2.0 and #>2.0= 0 or Error = Max is > 5.0 and # >5.0 = 0 or Error = Max is less than Min
Note on V4: Missing = missing data Error = Min > Max or you reported a Min that was above 2.0 NTU when you said that none of the readings were above that number.
Note on J8: PWS ID No. Enter the water system's seven digit PWS ID number.
Note on N8: PWS ID No. Enter the unique Plant ID number that the TCEQ has assigned to this plant.
Note on B17: Enter the total number of 15-minute readings collected on each filter that was used during the month. If the filter does not exist or if exists but was off-line for the entire month, enter "NA".
Note on C17: Enter the number of readings from each filter that were 0.105 NTU or higher.
Note on D17: Enter the number of readings from each filter that were 0.15 NTU or higher.
Note on F17: Enter the number of readings from each filter that were 0.35 NTU or higher.
Note on H17: Enter the number of readings from each filter that were 0.55 NTU or higher.
Note on I17: For each filter, enter the highest 15-minute turbidity reading that was recorded during the month.
Note on J17: For each filter, enter the lowest 15-minute turbidity reading that was recorded during the month.
Note on K17: For each filter that was used during the month, enter the date that the filter profile was started.
Note on L17: Enter the maximum turbidity level that was detected during the first four hours of the filter run.
Note on M17: Enter the turbidity level that was detected exactly 15 minutes after beginning the post-backwash filter run.
Note on N17: Enter the turbidity level that was detected exactly 30 minutes after beginning the post-backwash filter run.
Note on O17: Excluding the data collected during the first 30 minutes following a post-backwash filter run, enter the maximum turbidity level reported during the filter run.
Note on S19: Missing = missing data Error = # above 0.1 0 > Total #
Note on T19: Missing = missing data Error = # above 0.1 > # above 0.10
Note on U19: Missing = missing data Error = # above 0.5 > # above 0.3
Note on V19: Missing = missing data Error = # above 0.5 > # above 0.1
Note on W19: Missing = missing data Error = there is some inconsistency in the maximum value you are reporting and the number of readings that you are reporting for the various values. For example, you report a maximum value above 0.5 NTU and the number of readings above 0.5 NTU is 0.
Note on X19: Missing = missing data Error = there is some inconsistency in the minimum value you are reporting and the number of readings that you are reporting for the various values. For example, you report a minimum value above 0.10 NTU but you show that some of the readings were below 0.10 NTU or you indicated that Min > Max
Note on Y19: Missing = missing data Error = you tried to enter data for a filter that you indicated was not in use.
Note on Z19: Missing = missing data Error = you entered data for a filter that you indicated was not in use.
Note on AA19: Missing = missing data Error = you entered data for a filter that you indicated was not in use or the 15-minute reading was greater than the value you reported for the maximum spike.
Note on AB19: Missing = missing data Error = you entered data for a filter that you indicated was not in use or the 30-minute reading was greater than the value you reported for the maximum spike.
Note on AC19: Missing = missing data Error = you entered data for a filter that you indicated was not in use